## Sheet1
SR_NUMBER | ACTIVITY_TYPE | AREA | LEVEL | ACTIVITY | QUANTITY | RATE | UNIT_QUANTITY | UNIT
| main_activity | K | Monolift Glass | Free Standing Flush Glass Cladding system FGW Type 01 RAL9005 (blac | 1
| sub_activity |  |  | Glass panel and support frame | 6 | 1276.5
| activity |  |  | Glass Panel 898x4375x11.5 toughened laminated printed white | 5 | 110
| activity |  |  | VHB tape | 9 | 2.5
| activity |  |  | Silicon mastic | 9 | 5
| activity |  |  | Backing frame | 1 | 250
| activity |  |  | Top support brkt | 1 | 90
| activity |  |  | Bottom support brkt doubles as protestion bar | 1 | 90
| activity |  |  | Wall fixings | 18 | 0.5
| activity |  |  | Hours - Assemble panel in factory | 1 | 20
| activity |  |  | Hours - Install battens on site 1 man 2 hr | 2 | 20
| activity |  |  | Hours - Install battens on site 2 man 2 hr | 4 | 20
| activity |  |  | Hours - Hang panel 4men 1hr | 4 | 20
| sub_activity |  |  | Stainless Skirting | 8 | 100.97
| activity |  |  | Skirting backing section | 1 | 17.85
| activity |  |  | Stainless front section | 1 | 39.02
| activity |  |  | Fixings | 6 | 0.35
| activity |  |  | Hours | 2 | 20
| activity |  |  | Adhesive | 1 | 2
activity
| sub_activity |  |  | Sub Frame | 4.3 | 74.5
| activity |  |  | Activity | Quantity | Rate
| activity |  |  | ZED Section per meter | 3 | 10
| activity |  |  | Fixings 3 per length x 3 lengths | 9 | 0.5
| activity |  |  | Hours | 2 | 20
| sub_activity |  |  | End cappings Stainless | 12 | 153.5
| activity |  |  | Activity | Quantity | Rate
| activity |  |  | Stainless end cap 20x150x20 4 times bent per meter | 1 | 125
| activity |  |  | Mdf core | 1 | 4
| activity |  |  | Adhesive | 1 | 3
| activity |  |  | Fixings | 3 | 0.5
| activity |  |  | Hours | 1 | 20
| sub_activity |  |  | Stainless 2/3 height horizontal trim | 4 | 295
| activity |  |  | Activity | Quantity | Rate
| activity |  |  | Stainless trim | 1 | 250
| activity |  |  | Fixings | 1 | 5
| activity |  |  | Hours | 2 | 20
| sub_activity |  |  | Black powder coated soffit trim | 4 | 335
| activity |  |  | Activity | Quantity | Rate
| activity |  |  | Painted soffit section | 1 | 250
| activity |  |  | Fixings | 1 | 5
| activity |  |  | Hours | 4 | 20
| sub_activity |  |  | Structural steel frame | 4 | 1616
| activity |  |  | Activity | Quantity | Rate
| activity |  |  | Frame | 1 | 1000
| activity |  |  | Floor anchors | 8 | 25
| activity |  |  | Hours | 16 | 20
| activity |  |  | Dry packing/packers | 32 | 3
| sub_activity |  |  | Stainless trims around doors and drinking fountains | 4 | 160
| activity |  |  | Activity | Quantity | Rate
| activity |  |  | Stainless trims | 1 | 75
| activity |  |  | Fixings | 1 | 5
| activity |  |  | Hours | 4 | 20
| sub_activity |  |  | Sub floor support costs from line 408 | 3 | 830
| activity |  |  | Activity | Quantity | Rate
| activity |  |  | Materials | 1 | 750
| activity |  |  | Hours | 4 | 20